Multi-tube Vortexer—MS400

## Description:

- Multi-tube Vortexer is with technique of brushless DC motor and microprocessor controlled technique. It can maximum process 26 samples at once. It is suitable for different volume tubes and multi tube vortex, which mainly apply to the pretreatment of detections such as pesticide residues, veterinary drug residues, additives, mycotoxins, and environment.

Features:

- Colorful LCD displays time and shaking speed.

- 1min~99h59min time range, automatic warning sound when finish working.

- Pulsing program for interval mixing.

- Brushless DC motor: precise shaking speed, long service life maintenance-free.

- Process up to 26 samples at a time to make the experiment more convenient and efficient.

- Humanized program design, built-in timing/continuing/pulse/short mix operation modes.

Parameters

| Project | Parameter |  |  |  |
| --- | --- | --- | --- | --- |
| Speed range | 500~3000rpm |  |  |  |
| Orbit | 3mm |  |  |  |
| Time setting range | 1min~99h59min/∞ |  |  |  |
| Pulse function | Yes |  |  |  |
| Timing set for pulse | 2s~9min59s |  |  |  |
| Interval timing between pulse | 1s~9min59s |  |  |  |
| Times for pulse | 1~99times |  |  |  |
| Pulse mode setting during running | Yes |  |  |  |
| Short mix | Yes |  |  |  |
| Max load | 4.5kg |  |  |  |
| Power supply | 150W |  |  |  |
| Voltage | AC100~240V/50-60Hz |  |  |  |
| Fuse | 250V 3A Ф5x20 |  |  |  |
| Capacity | Type | Tube quantity | Tube diameter | Tube max. length |
|  | MS400-T16 | 26 | ￠10~￠16mm | 160mm |
|  | MS400-T32 | 12 | ￠16~￠32mm | 120mm |
| Dimension(mm) | 380x250x210 |  |  |  |
| Weight(kg) | 14.3 |  |  |  |